## Slide 1: Advances in Prostate Cancer Diagnosis
Andres F. Correa, MD
Assistant Professor of Surgery
Associated Fellowship Director Urologic Oncology Fellowship
Division of Urologic Oncology

## Slide 2
Fox Chase Cancer Center in Philadelphia has a legacy of nationally competitive basic, translational, and clinical research. Pictured here is the Diamond Sculpture, which symbolizes prevention, patient care, and research, in its location in front of the main hospital building.
1904
FOX CHASE IS ONE OF THE
NATION’S FIRST CANCER HOSPITALS.
FOUNDED

## Slide 3
Disclosures
I have no disclosures

## Slide 4
Urology Reckoning 2012
“The USPSTF concludes that there is moderate certainty that the benefits of PSA-based screening for prostate cancer DO NOT outweigh the risks”

## Slide 5
US Preventive Task Force Review of the Evidence
Persons
at Risk
Early Detection of Target Condition
Intermediate
Outcome
Reduced
Morbidity
and/or
Mortality
Screening
Association
Treatment
Adverse Effects
Of Screening
Adverse Effects
Of Treatment
Invasiveness of prostate biopsy
Complications associated with prostate biopsy
Limited diagnostic value of prostate biopsy
Treatment related QoL side effects
Aggressive treatment of indolent disease
Poor risk stratification of treatment options

## Slide 6
Outline
Advances in Prostate Biopsy → Transperineal Prostate Biopsy
Advances in Prostate Imaging → Transrectal Micro-Ultrasound

## Slide 7
History of Prostate Biopsy
1996
1974
1937
1926
Young et al
Open Perineal Prostate
Biopsy
Astradil et al
Transrectal Finger Guided Biopsy
1989
Sextant Method
Hodges et al
Modern era Prostate Biopsy
Watanabe et al
Introduction of TRUS
Nash et al
Peri-Prostatic anesthetic Block
2016
DiBianco et al
Free Hand Transperineal Prostate Biopsy

## Slide 8
Urology Reckoning 2012

## Slide 9
TRUS Biopsy: Infectious Complications
Nam RK et al. J Urol. 2010 Mar;183(3):963-83. Epub 2010 Jan 20.

## Slide 11
Ciprofloxacin is not Benign

## Slide 13
Antibiotic Augmentation: Is not the Answer

## Slide 15
TP Biopsy: No Rectal Bleeding
Loeb, S., et al. (2013). "Systematic Review of Complications of Prostate Biopsy." European Urology 64(6): 876-892.

## Slide 16
TR-EXIT
Is the Urology Running Away from TR-Biopsy
Main Issues Affection Adoption:
TR-Biopsy complications are a rare event
Increased risk of urinary retention
Need for general or spinal anesthesia

## Slide 17
TR-Biopsy Complications are a Rare Event
Is estimated that approximately 1,000,000 biopsies are performed in the US each year
67,594
50,000-70,000
10,000-30,000
19,500

## Slide 18
Increased Risk of Urinary Retention
Loeb, S., et al. (2013). "Systematic Review of Complications of Prostate Biopsy." European Urology 64(6): 876-892.

## Slide 19
Increased Risk of Urinary Retention
Loeb, S., et al. (2013). "Systematic Review of Complications of Prostate Biopsy." European Urology 64(6): 876-892.
20 patients = 1.6% developed urinary retention
4 patients = 0.3% received post-biopsy antibiotics
No septic events
No hospitalizations

## Slide 20
Need for General/Spinal Anesthesia
When urologist hear transperineal biopsy = Brachytherapy or Template Biopsies

## Slide 21
Free Hand TP Biopsy – Very Different

## Slide 22
Free Hand TP Biopsy – Very Different

## Slide 23
Improved Prostate Sampling
Schouten MG, European Urology 71:896-903, 2017

## Slide 24
The Debate Continues

## Slide 25
Why is there a debate
There is no level one data suggesting that TP-Biopsy is superior to TR-Biopsy
Led by Jim Hu at Cornell
Awarded 4.2 million by PCORI for the trial
10 plus institutions participating in the trial
Primary End-Point:
  To compare infection adverse events of TP-Bx vs. TR-Bx performed under local anesthesia
Secondary End-Points:
  To compare other adverse events such as bleeding and urinary retention
  To compare detection rates of clinically significant and insignificant prostate cancer

## Slide 26
Why is there a debate
2. There is a lack of incentives for urologist to transition

## Slide 27
US Preventive Task Force Review of the Evidence
Persons
at Risk
Early Detection of Target Condition
Intermediate
Outcome
Reduced
Morbidity
and/or
Mortality
Screening
Association
Treatment
Adverse Effects
Of Screening
Adverse Effects
Of Treatment
Invasiveness of prostate biopsy
Complications associated with prostate biopsy
Limited diagnostic value of prostate biopsy
Treatment related QoL side effects
Aggressive treatment of indolent disease
Poor risk stratification of treatment options

## Slide 28
The Peters Come to the Rescue

## Slide 29
Precision Population
Mean age 64y
Median PSA 6.7
15% Abnormal DRE
Control Arm
Intervention Arm
Gleason ≥3+4 =7 (GG 2) = 26%
Gleason 6 ( GG 1) = 22%
Abnormal
Normal
Gleason ≥3+4 =7 (GG 2) = 38%
Gleason 6 ( GG 1) = 9%
PSA Screening

## Slide 30
Imaging to Improve Cancer Detection

## Slide 31
MRI is NOT 100%
MRI guided biopsy alone may miss up to 25 % of Clinically Significant Cancers

## Slide 32
What is in the Horizon: ExactVU Micro-Ultrasound
Micro-ultrasound 300% improved resolution over the standard transrectal probe (6-12 MHz)
Point of Care Examination
  No need for an added MRI visit
Able to perform biopsy at the time of evaluation
There are no limitation in regards to:
  Pacemakers
  Contrast Allergies
  Prosthetics
  Metal
  Claustrophobia

## Slide 33
ExactVU Micro-Ultrasound: What are we Looking For ?

## Slide 34
ExactVU Micro-Ultrasound: Cases
PRIMUS 1 lesion “Swiss Cheese”
PRIMUS 5 lesion
PRIMUS 2 lesion
PRIMUS 4 lesion “Cauliflower”
GS 7 0.7 x 0.65 cm
PRIMUS 5 lesion
GS 8 1.2 x 1.1 cm

## Slide 35
ExactVU Micro-Ultrasound: The Data

## Slide 36
ExactVU Micro-Ultrasound: The Data
Notes: The largest micro-ultrasound study to date with 1040 biopsy procedures across 11 institutions. Micro-ultrasound demonstrated higher sensitivity and negative predictive value than mpMRI in this real-world registry study (p=0.03

## Slide 37
ExactVU Micro-Ultrasound: My 2 Cents
Micro-Ultrasound technology appears to provide comparable detection of clinically significant prostate cancer compared to MRI.
  Level 1 data comparing both modalities is needed
Micro-Ultrasound appears to be more sensitive than MRI at detecting clinically significant prostate cancer with a higher negative predictive value
  A Negative micro-US evaluation is more informative than a negative MRI
The technology has the added benefit of being a point of care device
  No need for an expensive imaging modality (MRI)
  May become the standard of care, given the rising cost of caring for patients on active surveillance
  Provides the ability to perform the diagnostic test and biopsy in the same setting
It does have limitations:
  Anterior zone evaluation is challenging
  It does require significant experience in characterizing the lesion
  TP-Biopsy using the system is cumbersome
Notes: The largest micro-ultrasound study to date with 1040 biopsy procedures across 11 institutions. Micro-ultrasound demonstrated higher sensitivity and negative predictive value than mpMRI in this real-world registry study (p=0.03

## Slide 38
Conclusions
Transperineal prostate biopsy should become the standard technique for prostate biopsies
  Decrease risk of infection
  No need for antibiotic prophylaxis
  No need for general or spinal anesthesia
  Better sampling of the anterior prostate
There is a lag in adoption of the Transperineal technique due to preconceived notions associated with TP procedures
  Need help from advocacy groups to push urologist to adopt the technique
Prostate imaging has been the most significant advancement, since the PSA screening, for the diagnosis of prostate cancer
MRI imaging is expensive, and not available to all patients
Micro-ultrasound technology has the potential to bring MRI imaging into the urologist office
  Emerging data shows micro-US to be comparable to MRI in the detection of clinically significant prostate cancer
  Wide adoption of micro-US technology may help mitigate the rising cost of active surveillance for patients with low to intermediate risk prostate cancer

## Slide 39
Questions/Comments